Transcribed from

Maryland Department of Environment

(Monthly Inspection Reports)

Waste Management Administration

Observation Report

Type of inspection/observation:  	 Landfilling of Municipal Wastes

Site/Facility Name:  		Harford Waste Disposal Center Landfill

Location: 		 Harford

Date:  02/21/06

Remarks:

Inspected today.

- Blown litter remains heavy on South, Southeast slopes of the cell.  Litter pickup was observed during the inspection.

- Three leachate breaks with downgradient flow are observed on slopes near the upper portion of the hard road to the main stormwater pond.  Leachate flow has not yet entered the water diversion channel down along the road, must be addressed now before this happens.

- No unacceptable waste types.

- Homeowner bins, yard waste/brush processing areas are maintained.

- The ash/soil ADCM was in use today.

Observer:  Ed Class				Person Interviewed:  Gerald Scanlan