Transcribed from

Maryland Department of Environment

SITE COMPLAINT

Number:  SCO-07-SW-180:  	 		Date:  03/07/05

Name of Violator:  Harford County Department of Public Works

Address:  3241 Scarboro Rd., Street, MD  21154

County where violation occurred:  Harford	Phone:  (410) 638-3637

The person, company, or entity named above has violated Maryland laws, regulations and/or permits regarding:

Solid Waste Management (Environment Articles Sections 9-201 through 9-227 COMAR 26.04.07)

(details of violation) Surfaced leachate from 2 leachate breaks on the upper stabilized bench in an intermediate area in the Northeast corner of the active landfill cell is flowing into a water diversion channel along the hard road to the main stormwater pond.  Leachate has not entered the stormwater pond at this time.  The affected area specifically is below the blue dumpster labeled “Asbestos Only”.  The condition constitutes an unauthorized discharge of leachate from the active cell and failure to collect and treat ponded leachate.

in violation of:  Permit #2000-WMF-0098 – III.  General conditions D – leachate:  1) failure to collect and treat ponded leachate occurring in an area outside the leachate collection system; (2) Discharge of leachate without authorization from the Department..

at the following location:  Harford Waste Disposal Center landfill – 3141 Scarboro Rd., Street, MD

You are advised the following corrective actions are necessary

You are advised to immediately take all action necessary such as grading/capping to eliminate the leachate flow discharge to the water diversion channel noted, to police the area for leachate breaks on a regular, daily basis and take immediate action to prevent reoccurrence of leachate discharge from the cell.

Issued by:  Ed Class				Recipient:

Name:  Gerald Scanlan