Transcribed from

Maryland Department of Environment

(Monthly Inspection Reports)

Waste Management Administration

Observation Report

Type of inspection/observation:  	 Landfilling of Municipal Wastes

Site/Facility Name:  		Harford Waste Disposal Center Landfill

Location: 		 Harford

Date:  5/23/07

Remarks:

Weather:  Clear – high 50’s +

This morning while conducting an inspection at the landfill I observed trash being scooped up by a front end loader at the working face.  Trash was then placed in a dumpster.  I asked the attendant present what was going on and he stated they were transferring trash to Bresco incinerator in Baltimore, had been doing so for “several weeks”.

Met with Frank Henderson – Director of Environment Affairs, Solid Waste Chief, Gerald Scanlan at the office here.  Mr. Henderson stated they were in an emergency situation at the landfill. Were rapidly running out of space before new landfill construction could begin and therefore was transferring homeowner bin dumpster trash to Bresco.  He stated he had spoken with both Solid Waste Program Administrator, Edward Dexter and Martha Hynson at the Department on the matter, had sent in a letter requesting approval for the activity.

Spoke with Martha Hynson – Chief of the Field Operation & Project Division who stated the Department has not issued the required letter authorizing trash transfer activity yet since the County landfill staff have not submitted additional information needed such as where the activity is to take place at the landfill, etc.

Since the Department has not issued written authorization to allow the transfer activity the permit holder, Harford County Department of Public Works is operating a transfer station without the required State permit/Department authorization in violation of COMAR 26.04.07.29 A.  A site complaint is issued for the violation noted.

When notified of site complaint issuance Frank Henderson stated he is shutting the transfer operation down.

Observer:  Ed Class	Person Interviewed:  received by Barry Bunker who did not sign.