Transcribed from

Maryland Department of Environment

(Monthly Inspection Reports)

Waste Management Administration

Observation Report

Type of inspection/observation:  	 Landfilling of Municipal Wastes

Site/Facility Name:  		Harford Waste Disposal Center Landfill

Location: 		 Harford

Date:  11/20/06

Remarks:

Inspected today.

- Daily cover is inadequate in active cells now receiving an incinerator ash ADCM Partial to full waste exposure of mattresses, furniture cushions as well as household trash, boards, is heavy.  This needs to be addressed.

- Numerous leachate breaks with pooling are present again in the Northeast portion of the cell.  Note that leachate is close to going overboard here into a water diversion ditch along the lower hard road which leads to the stormwater pond.  Leachate needs to be addressed immediately to stop flow outside the cell.

- Some minor slope litter is seen but litter is controlled overall.

- No unacceptable waste types.

- Homeowner bin, brush/yard wste processing areas are maintained.

Observer:  Ed Class	Person Interviewed:  Gerald Scanlan