Transcribed from

Maryland Department of Environment

(Monthly Inspection Reports)

Waste Management Administration

Observation Report

Type of inspection/observation:  	 Landfilling of Municipal Wastes

Site/Facility Name:  		Harford Waste Disposal Center Landfill

Location: 		 Harford

Date:  12/21/06

Remarks:

Inspected today.

- Heavy blown litter is present on slopes around the cell, has blown downhill into brush, tree limbs.  It is noted that litter pickup took place during the inspection.

- Inadequate intermediate area cover with heavy mattress, furniture cushion popups is seen across the road from the current homeowner/special accounts working face.  This needs to be addressed.

- No unacceptable waste types.

- No leachate observed.

- Homeowners, brush/yard waste processing areas are maintained.

- The ash/soil ADCM remains in use.

Observer:  Ed Class	Person Interviewed:  Gerald Scanlan