Transcribed from

Maryland Department of Environment

(Monthly Inspection Reports)

Waste Management Administration

Observation Report

Type of inspection/observation:  	 Landfilling of Municipal Wastes

Site/Facility Name:  		Harford Waste Disposal Center Landfill

Location: 		 Harford

Date:  09/16/05

Remarks:

Inspected today.

- Erosion observed on the last 2 inspections has been repaired, affected slope area seeded/stabilized.

- Trash diversion from the incinerator was underway this date.

- No unacceptable waste types.

- Homeowner bins, yard waste, brush processing areas are maintained.

- Adequate cover types.

Observer:  Ed Class				Person Interviewed:  Gerald Scanlan